## 5-14-14
Date: | 2014-05-14
Objective: | Amplify ETS. Note: use 680 on hesperolinon, 620 on sclerolinon and linum rupestre, 480 on some linum.
Materials: | Symmetric PCR in Bioneer Pre-mix tubes (0.2 ml thin walled)
0.75 µl (of 10 µm stock) per rxn of ETS_seq primer
0.75 µl (of 10 µm stock) per rxn of ETS_XXX primer
Procedure: | 1) Make master mix of the two primers. |  |  |  |  | 680 master mix:
| 2) Add 1.5 µl of the primer mix into each Pre-mix tube. |  |  |  |  | 38.25 | µl of both primers
3) Add 17 µl of sample DNA into Pre-mix tube.
| 4) Add 17 µl of dH20 into 1 Pre-mix tube for control. |  |  |  |  | 620 master mix:
| 5) Run thermal cycler: |  |  |  |  | 5.25 | µl of both primers
|  | HOLD | 96º C for 2 minute
|  | AUTO x 34 | 94º C for 30 seconds
56º C for 30 seconds
72º C for 1 minute
|  | HOLD | 72º C for 3 minutes
|  | HOLD | 4º C forever
|  | Cycler: | MJ1 | Time started: | noon
|  | Program: | ORO-ETS | Time removed:
Tube # | Sample ID | Rev Primer | Dilution |  | Tube # | Sample ID | Rev Primer | Dilution
1 | 0905A3 | ETS_680 | 1:50 |  | 30 | 08-UC-1212503 | ETS_680 | 1:50
2 | 0906A4 | ETS_680 | 1:50 |  | 31 | 08-UC-1212496 | ETS_680 | 1:50
3 | 1001A1 | ETS_680 | 1:50 |  | 32 | 10-UC-1563669 | ETS_680 | 1:50
4 | 1002A6 | ETS_680 | 1:50 |  | 33 | 11-O'Dell-1 | ETS_680 | 1:50
5 | 1003A2 | ETS_680 | 1:50 |  | 34 | 10-O'Dell-2 | ETS_680 | 1:50
6 | 1004A5 | ETS_680 | 1:50 |  | 35 | 08-O'Dell-3 | ETS_680 | 1:50
7 | 1005A3 | ETS_680 | 1:50 |  | 36 | 10-JEPS 94421 | ETS_680 | 1:50
8 | 1101A11 | ETS_680 | 1:50 |  | 37 | 10-JEPS 101013 | ETS_680 | 1:50
9 | 1102A3 | ETS_680 | 1:50 |  | 38 | 10-UC 1430074 | ETS_680 | 1:50
10 | 1103A2 | ETS_680 | 1:50 |  | 39 | 10-UC 762268 | ETS_680 | 1:50
11 | 1104A3 | ETS_680 | 1:50 |  | 40 | 10-UC 1583670 | ETS_680 | 1:50
12 | 1106A4 | ETS_680 | 1:50 |  | 41 | 10-JEPS 101012 | ETS_680 | 1:50
13 | 1201A2 | ETS_680 | 1:50 |  | 42 | 10-JEPS 27391 | ETS_680 | 1:50
14 | 1202A6 | ETS_680 | 1:50 |  | 43 | 10-JEPS 9289 | ETS_680 | 1:50
15 | 1203A4 | ETS_680 | 1:50 |  | 44 | 10-JEPS 85144 | ETS_680 | 1:50
16 | 1204A5 | ETS_680 | 1:50 |  | 45 | 10-JEPS 98046 | ETS_680 | 1:50
17 | 1205A3 | ETS_680 | 1:50 |  | 46 | 10-JEPS 99502 | ETS_680 | 1:50
18 | 1301A1 | ETS_680 | 1:50 |  | 47 | 10-UC 1790116 | ETS_680 | 1:50
19 | 1302A3 | ETS_680 | 1:50 |  | 48 | 10-JEPS 29946 | ETS_680 | 1:50
20 | 1303A4 | ETS_680 | 1:50 |  | 49 | 10-JEPS 98004 | ETS_680 | 1:50
21 | 1304A3 | ETS_680 | 1:50 |  | 50 | 10-JEPS 117584 | ETS_680 | 1:50
22 | 1305A8 | ETS_680 | 1:50 |  | 51 | 10-JEPS 98429 | ETS_680 | 1:50
23 | 01-JEPS-101971 | ETS_680 | 1:50 |  | 52 | LIBI-AS-320 | ETS_620 | 1:50
24 | 04-JEPS-98477 | ETS_680 | 1:50 |  | 53 | LILE-CMG-1541 | ETS_620 | 1:50
25 | 04-JEPS-98553 | ETS_680 | 1:50 |  | 54 | SCDI-JEPS 93794 | ETS_620 | 1:50
26 | 08-JEPS-85765 | ETS_680 | 1:50 |  | 55 | CLSE-UC 1531894 | ETS_620 | 1:50
27 | 08-JEPS-105293 | ETS_680 | 1:50 |  | 56 | SCDI-JEPS 74374 | ETS_620 | 1:50
28 | 08-JEPS-108288 | ETS_680 | 1:50 |  | 57 | LIRU-UC 1391714 | ETS_620 | 1:50
29 | 08-JEPS-83844 | ETS_680 | 1:50 |  | 58 | LIBE-UC 1716062 | ETS_620 | 1:50